## INFO
Scenario Description | Example scenario
This Excel file defines an oemof energy system.
The components are defined in the several sheets.
Sheet | Notes
buses | Defines the buses used in the energy system
-If excess or shortage flag is set (=1), an additional sink resp. source is added AUTOMATICALLY
commodity_sources | Defines the commodity sources such as oil, gas etc.
demand | Defines demand components such as electricity and/or heat demand
renewables | Defines the renewable sources (fixed generation)
storages | Defines storages
Initial capacity: set between 0 (empty) and 1 (full)
transformers_in/out | Defines the transformers like heat pumps, CHP, power2gas plants etc.
Transformers_in: the investment mode refers to the input (CHP)
Transformers_out: the investment mode refers to the output (heat pump)
timeseries | Time series
-Format of column must follow the format NODE.PARAMETER (e.g. wind.actual_value)
time series are implemented for renewables, demands and transformer inputs
General notes
-For details on how this data is used (and to alter) during creation of the energy system refer to function "create_nodes()".
-Unit of values is kW / kWh and €
-If column "active" is set to 0, the component will not be created in the energy system

## buses
label | active | excess | shortage | shortage costs | shortage env | excess costs | excess env
bus_el | 1 | 1 | 0 | 1000000000 | 0 | 0 | 0
bus_w_chips | 1 | 0 | 0 | 0 | 0 | 0 | 0
bus_th | 1 | 1 | 0 | 0 | 0 | 0 | 0
bus_th_ambient | 1 | 0 | 0 | 0 | 0 | 0 | 0

## demand
label | active | from | nominal value | fixed | emission_baseline [kgCO2eq/kWh] | emission_reduction_goal | comment | climate neutral by
load_el | 1 | bus_el | 1 | 1 | 0.764 | 0.9 | https://www.umweltbundesamt.de/en/publikationen/entwicklung-der-spezifischen-kohlendioxid-6 | 2045
load_th | 1 | bus_th | 1 | 1

## commodity_sources
label | active | to | variable costs | var_env1 | var_env1_conversion | comment | ecoinvent dataset | fuel_based
resource_grid | 1 | bus_el | 0.32 | market for electricity, low voltage, DE, commodity_kWh | 1 |  | market for electricity, low voltage ¦ electricity, low voltage ¦ Cutoff, U - DE | 1
resource_w_chips_dry | 1 | bus_w_chips | 0.028952 | market for wood chips, measured as dry mass_commodity_kg | 0.19048 | LHV 18.9 MJ/kg (dry mass) [ecoinvent database] | market for wood chips, dry, measured as dry mass ¦ wood chips, dry, measured as dry mass ¦ Cutoff, U - RER | 1

## renewables
label | active | to | variable costs | var_env1 | var_env1_conversion | om | invest | lifetime | inv1 | inv1_conversion | fixed
wind | 0 | bus_el | 0 | electricity, wind, max 1MW turbine, onshore, variable_kWh | 1 | 110.34 | 2452 | 20 | construction, wind, max 1MW turbine, onshore, investment_kW | 1 | 1
PV_roof | 1 | bus_el | 0 | empty | 1 | 41.174 | 2058.7 | 30 | production, PV, flat-roof installation, 156kWp, crist_kW | 1 | 1
PV_og | 0 | bus_el | 0 | empty | 1 | 28.9263 | 1446.3158 | 30 | construction, PV, open ground installation, 570kWp, crist_kW | 1 | 1 | inkl. Wechselrichter für 1200€ mit Lebensdauer 10 Jahre + Annahme 2% Maintenance Cost every year
solar_thermal_FPC | 0 | bus_th_high | 0 | heat, central or small-scale, operation, solar collector system, Cu flat plate collector, one-family house, for combined system, variable_MJ | 3.6 | 13.33 | 1266.6667 | 20 | production, solar collector system, Cu flat plate collector, multiple dwelling, for combined system, investment_m2 | 1 | 1 | 0.5 kW/m² | invest: invest kosten + maintenance/leistung
ambient_heat_ground | 1 | bus_th_ambient | 0 | empty |  | 0 | 1818.1818 | 50 | construction, borehole heat exchanger, investment_m | 18.1818 | 0 | 0.055 | m/kWh lt. Energiekonzept "Am Horn" S. 20

## storages
label | active | bus | balanced | capacity loss | efficiency inflow | efficiency outflow | initial capacity | capacity min | capacity max | invest_relation_input_capacity | invest_relation_output_capacity | variable input costs | variable output costs | inv1 | inv1_conversion | om | invest | lifetime | comment
batt_LFP | 1 | bus_el | 0 | 2.7778e-05 | 1 | 0.96 | 0 | 0.1 | 1 | 0.19308 | 0.19308 | 0 | 0 | construction, battery, LFP-LTO (37.9 Wh_kg), investment_Wh | 1000 | 25 | 1358 | 17
batt_VRF | 0 | bus_el | 0 | 2.7778e-05 | 1 | 0.75 | 0 | 0.1 | 0.9 | 0.125 | 0.125 | 0 | 0 | construction, battery, VRF (19.4 Wh_kg), investment_Wh | 1000 | 25 | 1507 | 17
heat_storage_high | 1 | bus_th | 0 | 0.0001585 | 1 | 1 | 0 | 0 | 1 | 0.24096 | 0.24096 | 0 | 0 | storage production, 10'000 l, investment_unit | 0.0021531 | 0 | 41.0679 | 20 | 464.4444
Note on E1: The relative loss of the storage content per time unit.
Note on F1: conversion factor (i.e. efficiency) when storing energy
Note on G1: conversion factor when (i.e. efficiency) taking stored energy
Note on H1: can be set by a numeric value as fraction of the storage capacity; no value: The state of charge in time step zero is a result of the optimization.
Note on I1: minimum allowed storage level
Note on J1: maximum allowed storage level
Note on K1: fixes the input flow investment to the capacity investment. A ratio of ‘1’ means that the storage can be filled within one time-period.
Note on L1: fixes the output flow investment to the capacity investment. A ratio of ‘1’ means that the storage can be emptied within one period.

## transformers_in
label | active | from1 | var_from1_costs | to1 | var_to1_costs | conversion_factor1 | var_env1 | var_env1_conversion | to2 | var_to2_costs | conversion_factor2 | var_env2 | var_env2_conversion | om | invest | invest_kWel | lifetime | inv1 | inv1_conversion | inv2 | inv2_conversion | fuel_based
CHP_w_chips | 1 | bus_w_chips | 0 | bus_el | 0.036 | 0.26455 | electricity, CHP, wood chips, 2000 kW, 1200 kWth, 530 kWel, variable_kWh | 1 | bus_th |  | 0.60091 | heat, district or industrial, CHP, wood chips, 2000 kW, 1200 kWth, 530 kWel, variable_kWh | 1 | 0 | 17716.86 | 4687 | 15 | construction, CHP, wood chips, 2000 kW, state-of-the-art 2014, investment_kW | 1 |  |  | 1

## transformers_out
label | active | from1 | var_from1_costs | from2 | var_from2_costs | to1 | conversion_factor1 | fixed_cop | var_to1_costs | var_env1 | var_env1_conversion | om | invest | lifetime | inv1 | inv1_conversion | COP | fuel_based | T high | T low | quality factor_HP
heat_pump_b_w_high | 1 | bus_el | 0 | bus_th_ambient | 0 | bus_th | 3.9217 | 0 | 0 | heat, central or small-scale, brine-water heat pump 10kW, variable_MJ | 3.6 | 15 | 776 | 20 | construction, brine-water heat pump 10kW, investment_kW | 1 | 3.9217 | 0 | 55 | 9 | 0.55
heating_unit | 1 | bus_el | 0 |  |  | bus_th | 1 | 0 | 0 | empty |  | 0 | 36.8 | 20 | production, auxiliary heating unit, electric, 5kW, investment_kW | 1 |  | 0
Note on V2: Hottenroth, Heidi: Typical values of quality grades are 0.4 for air-source heat pumps, 0.55 for ground-source (“brine-to-water”) heat pumps using a ground heat exchanger, and 0.5 for heat pumps using groundwater as source. [1] For high temperature heat pumps Arpagaus finds quality grades between 0.4 and 0.6. [2] https://oemof-thermal.readthedocs.io/en/latest/compression_heat_pumps_and_chillers.html

## timeseries
timestamp | solar_thermal_FPC_high.fix | load_th.fix | load_el.fix | wind.fix | PV_roof.fix | PV_og.fix | heat_pump_a_w_high.cop
2016-01-23 00:00:00 | 0 | 152.6971 | 34.3787 | 0 | 0 | 0 | 1.5678
2016-01-23 01:00:00 | 0 | 156.6909 | 30.8237 | 0 | 0 | 0 | 1.5568
2016-01-23 02:00:00 | 0 | 159.1869 | 26.3595 | 0 | 0 | 0 | 1.5457
2016-01-23 03:00:00 | 0 | 171.489 | 25.36 | 0 | 0 | 0 | 1.545
2016-01-23 04:00:00 | 0 | 209.2331 | 25.9272 | 0 | 0 | 0 | 1.5441
2016-01-23 05:00:00 | 0 | 298.152 | 27.4021 | 0 | 0 | 0 | 1.5435
2016-01-23 06:00:00 | 0 | 293.1908 | 33.5887 | 0 | 0 | 0 | 1.5652
2016-01-23 07:00:00 | 0 | 276.2576 | 45.6297 | 0 | 0 | 0 | 1.5878
2016-01-23 08:00:00 | 0 | 282.2796 | 60.6776 | 0 | 0.07828 | 0.07828 | 1.6111
2016-01-23 09:00:00 | 0 | 278.0052 | 70.2962 | 0 | 0.16559 | 0.16559 | 1.6523
2016-01-23 10:00:00 | 0 | 270.4145 | 73.7115 | 0 | 0.45249 | 0.45249 | 1.6957
2016-01-23 11:00:00 | 0.012631 | 263.8579 | 76.3765 | 0 | 0.25373 | 0.25373 | 1.7411
2016-01-23 12:00:00 | 0 | 261.3351 | 80.7418 | 0 | 0.78134 | 0.78134 | 1.7346
2016-01-23 13:00:00 | 0 | 256.1201 | 78.9964 | 0 | 0.41565 | 0.41565 | 1.7278
2016-01-23 14:00:00 | 0 | 255.3357 | 72.1687 | 0 | 0.23324 | 0.23324 | 1.7214
2016-01-23 15:00:00 | 0 | 257.6981 | 67.6926 | 0 | 0.22762 | 0.22762 | 1.7006
2016-01-23 16:00:00 | 0 | 268.0079 | 68.18 | 0 | 0 | 0 | 1.6802
2016-01-23 17:00:00 | 0 | 275.942 | 83.8073 | 0 | 0 | 0 | 1.6603
2016-01-23 18:00:00 | 0 | 279.285 | 96.1126 | 0 | 0 | 0 | 1.6427
2016-01-23 19:00:00 | 0 | 276.896 | 95.97 | 0 | 0 | 0 | 1.6254
2016-01-23 20:00:00 | 0 | 268.6812 | 79.7652 | 0 | 0 | 0 | 1.6084
2016-01-23 21:00:00 | 0 | 246.0159 | 63.063 | 0 | 0 | 0 | 1.5843
2016-01-23 22:00:00 | 0 | 220.5245 | 56.5701 | 0 | 0 | 0 | 1.5611
2016-01-23 23:00:00 | 0 | 162.9 | 47.8383 | 0 | 0 | 0 | 1.5384
2016-03-13 00:00:00 | 0 | 98.8514 | 36.6235 | 0.41967 | 0 | 0 | 2.3586
2016-03-13 01:00:00 | 0 | 104.8871 | 27.3394 | 0.31269 | 0 | 0 | 2.3428
2016-03-13 02:00:00 | 0 | 106.4855 | 22.3637 | 0.21508 | 0 | 0 | 2.3273
2016-03-13 03:00:00 | 0 | 114.8576 | 20.4687 | 0.31547 | 0 | 0 | 2.3236
2016-03-13 04:00:00 | 0 | 142.7271 | 19.5463 | 0.42535 | 0 | 0 | 2.3196
2016-03-13 05:00:00 | 0 | 208.2509 | 19.7403 | 0.53871 | 0 | 0 | 2.316
2016-03-13 06:00:00 | 0 | 206.1752 | 21.5479 | 0.48245 | 0.01076 | 0.01076 | 2.3232
2016-03-13 07:00:00 | 0 | 200.4448 | 25.4958 | 0.42829 | 0.0059 | 0.0059 | 2.3309
2016-03-13 08:00:00 | 0 | 199.443 | 41.1189 | 0.37539 | 0.02201 | 0.02201 | 2.3383
2016-03-13 09:00:00 | 0 | 195.2167 | 62.6095 | 0.43343 | 0.0264 | 0.0264 | 2.3371
2016-03-13 10:00:00 | 0 | 189.8997 | 78.5293 | 0.49447 | 0.05034 | 0.05034 | 2.3358
2016-03-13 11:00:00 | 0 | 184.0445 | 90.9763 | 0.55841 | 0.03472 | 0.03472 | 2.3342
2016-03-13 12:00:00 | 0 | 182.3323 | 92.6354 | 0.65714 | 0.03396 | 0.03396 | 2.3281
2016-03-13 13:00:00 | 0 | 182.0104 | 78.6037 | 0.73744 | 0.04094 | 0.04094 | 2.3216
2016-03-13 14:00:00 | 0 | 183.3008 | 63.3231 | 0.81278 | 0.0272 | 0.0272 | 2.3151
2016-03-13 15:00:00 | 0 | 184.8714 | 55.1801 | 0.72484 | 0.03326 | 0.03326 | 1.8359
2016-03-13 16:00:00 | 0 | 192.7941 | 51.328 | 0.62159 | 0.05663 | 0.05663 | 1.8202
2016-03-13 17:00:00 | 0 | 199.3181 | 60.0675 | 0.50873 | 0 | 0 | 1.8045
2016-03-13 18:00:00 | 0 | 203.2947 | 73.4399 | 0.44837 | 0 | 0 | 1.7893
2016-03-13 19:00:00 | 0 | 202.4844 | 81.3608 | 0.39084 | 0 | 0 | 1.7744
2016-03-13 20:00:00 | 0 | 197.9279 | 74.2711 | 0.33084 | 0 | 0 | 1.7598
2016-03-13 21:00:00 | 0 | 180.4869 | 63.2537 | 0.30714 | 0 | 0 | 1.7528
2016-03-13 22:00:00 | 0 | 157.6735 | 53.0811 | 0.28469 | 0 | 0 | 1.7457
2016-03-13 23:00:00 | 0 | 116.5866 | 39.5314 | 0.26343 | 0 | 0 | 1.7388
2016-04-07 00:00:00 | 0 | 92.4722 | 31.888 | 0 | 0 | 0 | 1.763
2016-04-07 01:00:00 | 0 | 98.2335 | 23.947 | 0 | 0 | 0 | 1.7428
2016-04-07 02:00:00 | 0 | 99.5609 | 21.7813 | 0 | 0 | 0 | 1.7231
2016-04-07 03:00:00 | 0 | 107.0287 | 23.4442 | 0 | 0 | 0 | 1.7397
2016-04-07 04:00:00 | 0 | 133.0829 | 26.7216 | 0 | 0 | 0 | 1.7566
2016-04-07 05:00:00 | 0 | 195.4424 | 31.3203 | 0 | 0 | 0 | 1.7738
2016-04-07 06:00:00 | 0 | 193.7533 | 48.9008 | 0 | 0.09376 | 0.09376 | 2.3404
2016-04-07 07:00:00 | 0 | 188.3464 | 71.3454 | 0 | 0.32402 | 0.32402 | 2.4779
2016-04-07 08:00:00 | 0.33358 | 187.3899 | 84.3467 | 0 | 0.54987 | 0.54987 | 2.6326
2016-04-07 09:00:00 | 0.28044 | 183.3755 | 86.7788 | 0 | 0.71813 | 0.71813 | 2.6802
2016-04-07 10:00:00 | 0.2624 | 178.2073 | 85.484 | 0 | 0.82572 | 0.82572 | 2.7291
2016-04-07 11:00:00 | 0.24722 | 172.726 | 85.476 | 0 | 0.87408 | 0.87408 | 2.7797
2016-04-07 12:00:00 | 0.21889 | 171.1103 | 88.9958 | 0 | 0.83313 | 0.83313 | 2.8114
2016-04-07 13:00:00 | 0.1887 | 170.6733 | 82.0584 | 0 | 0.7883 | 0.7883 | 2.8438
2016-04-07 14:00:00 | 0.14722 | 171.8355 | 74.5586 | 0 | 0.67374 | 0.67374 | 2.8763
2016-04-07 15:00:00 | 0.093248 | 173.3851 | 70.3465 | 0 | 0.49284 | 0.49284 | 2.7867
2016-04-07 16:00:00 | 0.029244 | 180.5472 | 64.3626 | 0 | 0.26303 | 0.26303 | 2.7025
2016-04-07 17:00:00 | 0 | 186.5306 | 63.8558 | 0 | 0.04819 | 0.04819 | 2.6237
2016-04-07 18:00:00 | 0 | 190.2475 | 71.7282 | 0.00038095 | 0 | 0 | 2.5495
2016-04-07 19:00:00 | 0 | 189.4479 | 80.7262 | 0.0069497 | 0 | 0 | 2.4797
2016-04-07 20:00:00 | 0 | 185.0627 | 78.2145 | 0.015951 | 0 | 0 | 2.4137
2016-04-07 21:00:00 | 0 | 168.7593 | 72.4112 | 0.015311 | 0 | 0 | 2.3907
2016-04-07 22:00:00 | 0 | 147.2886 | 62.8074 | 0.014687 | 0 | 0 | 2.3678
2016-04-07 23:00:00 | 0 | 109.0133 | 47.0893 | 0.01408 | 0 | 0 | 2.3453
2016-07-12 00:00:00 | 0 | 20.2342 | 34.9929 | 0 | 0 | 0 | 2.8275
2016-07-12 01:00:00 | 0 | 19.8047 | 26.2958 | 0 | 0 | 0 | 2.8275
2016-07-12 02:00:00 | 0 | 18.7204 | 24.2479 | 0 | 0 | 0 | 2.8269
2016-07-12 03:00:00 | 0 | 19.9659 | 25.8062 | 0.0029482 | 0 | 0 | 2.8919
2016-07-12 04:00:00 | 0 | 33.5187 | 28.9032 | 0.01891 | 0 | 0 | 2.96
2016-07-12 05:00:00 | 0.015382 | 49.7426 | 33.6386 | 0.039269 | 0.00709 | 0.00709 | 3.0314
2016-07-12 06:00:00 | 1.6984 | 53.7876 | 51.7162 | 0.05281 | 0.06166 | 0.06166 | 3.1729
2016-07-12 07:00:00 | 0.69642 | 49.0991 | 70.5635 | 0.068624 | 0.19716 | 0.19716 | 3.329
2016-07-12 08:00:00 | 0.59544 | 45.1137 | 83.0223 | 0.080691 | 0.40368 | 0.40368 | 3.5004
2016-07-12 09:00:00 | 0.55038 | 44.1132 | 87.1035 | 0.095473 | 0.64374 | 0.64374 | 3.6133
2016-07-12 10:00:00 | 0.51795 | 41.3415 | 84.9629 | 0.11322 | 0.66014 | 0.66014 | 3.7328
2016-07-12 11:00:00 | 0.48687 | 39.6834 | 85.3408 | 0.14177 | 0.18952 | 0.18952 | 3.8604
2016-07-12 12:00:00 | 0.44949 | 39.4247 | 88.621 | 0.12439 | 0.41308 | 0.41308 | 3.9252
2016-07-12 13:00:00 | 0.40427 | 35.9098 | 82.5572 | 0.10812 | 0.55179 | 0.55179 | 3.9934
2016-07-12 14:00:00 | 0.35221 | 35.3496 | 74.9186 | 0.098887 | 0.60673 | 0.60673 | 4.0628
2016-07-12 15:00:00 | 0.28845 | 33.8422 | 69.2489 | 0.074612 | 0.42762 | 0.42762 | 3.985
2016-07-12 16:00:00 | 0.21739 | 34.4661 | 64.1352 | 0.046304 | 0.27489 | 0.27489 | 3.9114
2016-07-12 17:00:00 | 0.13717 | 36.225 | 64.0754 | 0.022425 | 0.11796 | 0.11796 | 3.8392
2016-07-12 18:00:00 | 0.049139 | 39.3131 | 69.3736 | 0.016555 | 0.02496 | 0.02496 | 3.638
2016-07-12 19:00:00 | 0 | 41.9446 | 76.8806 | 0.011305 | 0 | 0 | 3.4577
2016-07-12 20:00:00 | 0 | 44.27 | 76.7086 | 0.0055981 | 0 | 0 | 3.2944
2016-07-12 21:00:00 | 0 | 43.3523 | 72.3704 | 0.0066714 | 0 | 0 | 3.2487
2016-07-12 22:00:00 | 0 | 36.6417 | 66.1434 | 0.0078155 | 0 | 0 | 3.2034
2016-07-12 23:00:00 | 0 | 27.735 | 52.1622 | 0.0090334 | 0 | 0 | 3.1601
2016-08-22 00:00:00 | 0 | 10.5622 | 34.9929 | 0 | 0 | 0 | 3.4703
2016-08-22 01:00:00 | 0 | 10.8151 | 26.2958 | 0 | 0 | 0 | 3.431
2016-08-22 02:00:00 | 0 | 10.6182 | 24.2479 | 0 | 0 | 0 | 3.3917
2016-08-22 03:00:00 | 0 | 10.1869 | 25.8062 | 0 | 0 | 0 | 3.4319
2016-08-22 04:00:00 | 0 | 16.4862 | 28.9032 | 0 | 0 | 0 | 3.4721
2016-08-22 05:00:00 | 0 | 22.6072 | 33.6386 | 0 | 0.01582 | 0.01582 | 3.5142
2016-08-22 06:00:00 | 0.048065 | 18.4201 | 51.7162 | 0.011882 | 0.10085 | 0.10085 | 3.6863
2016-08-22 07:00:00 | 0.70353 | 22.159 | 70.5635 | 0.026866 | 0.28268 | 0.28268 | 3.875
2016-08-22 08:00:00 | 0.44498 | 20.2521 | 83.0223 | 0.044967 | 0.45937 | 0.45937 | 4.0852
2016-08-22 09:00:00 | 0.40755 | 20.5267 | 87.1035 | 0.048836 | 0.59084 | 0.59084 | 4.1748
2016-08-22 10:00:00 | 0.38742 | 19.6434 | 84.9629 | 0.052679 | 0.67841 | 0.67841 | 4.2684
2016-08-22 11:00:00 | 0.368 | 19.2161 | 85.3408 | 0.056736 | 0.72091 | 0.72091 | 4.3663
2016-08-22 12:00:00 | 0.3378 | 19.0981 | 88.621 | 0.039101 | 0.72498 | 0.72498 | 4.4494
2016-08-22 13:00:00 | 0.30389 | 17.6952 | 82.5572 | 0.023929 | 0.66533 | 0.66533 | 4.5342
2016-08-22 14:00:00 | 0.25853 | 18.2183 | 74.9186 | 0.011439 | 0.5745 | 0.5745 | 4.6223
2016-08-22 15:00:00 | 0.20472 | 16.361 | 69.2489 | 0 | 0.42767 | 0.42767 | 4.414
2016-08-22 16:00:00 | 0.13664 | 16.2092 | 64.1352 | 0 | 0.24309 | 0.24309 | 4.2238
2016-08-22 17:00:00 | 0.061358 | 17.3583 | 64.0754 | 0 | 0.06487 | 0.06487 | 4.048
2016-08-22 18:00:00 | 0 | 18.303 | 69.3736 | 0 | 0 | 0 | 3.8851
2016-08-22 19:00:00 | 0 | 18.8585 | 76.8806 | 0 | 0 | 0 | 3.7349
2016-08-22 20:00:00 | 0 | 20.4531 | 76.7086 | 0 | 0 | 0 | 3.5958
2016-08-22 21:00:00 | 0 | 19.7918 | 72.3704 | 0 | 0 | 0 | 3.5096
2016-08-22 22:00:00 | 0 | 17.8833 | 66.1434 | 0 | 0 | 0 | 3.4275
2016-08-22 23:00:00 | 0 | 13.7983 | 52.1622 | 0 | 0 | 0 | 3.3491
2016-10-10 00:00:00 | 0 | 31.0127 | 31.888 | 0 | 0 | 0 | 2.7996
2016-10-10 01:00:00 | 0 | 29.9849 | 23.947 | 0 | 0 | 0 | 2.8293
2016-10-10 02:00:00 | 0 | 28.7161 | 21.7813 | 0 | 0 | 0 | 2.8603
2016-10-10 03:00:00 | 0 | 31.5196 | 23.4442 | 0 | 0 | 0 | 2.8529
2016-10-10 04:00:00 | 0 | 47.2483 | 26.7216 | 0 | 0 | 0 | 2.8456
2016-10-10 05:00:00 | 0 | 72.794 | 31.3203 | 0 | 0 | 0 | 2.8377
2016-10-10 06:00:00 | 0 | 82.7407 | 48.9008 | 0 | 0.01204 | 0.01204 | 2.8701
2016-10-10 07:00:00 | 0 | 73.8897 | 71.3454 | 0 | 0.03578 | 0.03578 | 2.9026
2016-10-10 08:00:00 | 0.031012 | 70.3283 | 84.3467 | 0 | 0.08128 | 0.08128 | 2.9359
2016-10-10 09:00:00 | 0 | 65.4053 | 86.7788 | 0 | 0.0437 | 0.0437 | 2.9275
2016-10-10 10:00:00 | 0 | 62.2434 | 85.484 | 0.00095544 | 0.02698 | 0.02698 | 2.9192
2016-10-10 11:00:00 | 0 | 59.3617 | 85.476 | 0.0059616 | 0.04904 | 0.04904 | 2.9109
2016-10-10 12:00:00 | 0.035432 | 57.9734 | 88.9958 | 0.0020313 | 0.0876 | 0.0876 | 2.9134
2016-10-10 13:00:00 | 0 | 56.1937 | 82.0584 | 0 | 0.04383 | 0.04383 | 2.9166
2016-10-10 14:00:00 | 0.021989 | 54.1916 | 74.5586 | 0 | 0.07282 | 0.07282 | 2.9198
2016-10-10 15:00:00 | 0.011514 | 54.688 | 70.3465 | 0 | 0.08269 | 0.08269 | 2.8788
2016-10-10 16:00:00 | 0 | 56.3173 | 64.3626 | 0 | 0.01866 | 0.01866 | 2.8389
2016-10-10 17:00:00 | 0 | 59.2834 | 63.8558 | 0 | 0 | 0 | 2.8002
2016-10-10 18:00:00 | 0 | 64.0333 | 71.7282 | 0 | 0 | 0 | 2.7908
2016-10-10 19:00:00 | 0 | 68.4557 | 80.7262 | 0 | 0 | 0 | 2.7815
2016-10-10 20:00:00 | 0 | 70.1776 | 78.2145 | 0 | 0 | 0 | 2.7722
2016-10-10 21:00:00 | 0 | 66.9972 | 72.4112 | 0 | 0 | 0 | 2.759
2016-10-10 22:00:00 | 0 | 55.2028 | 62.8074 | 0 | 0 | 0 | 2.7465
2016-10-10 23:00:00 | 0 | 40.5865 | 47.0893 | 0 | 0 | 0 | 2.7335
2016-11-13 00:00:00 | 0 | 70.5453 | 36.6235 | 0 | 0 | 0 | 2.5514
2016-11-13 01:00:00 | 0 | 76.9539 | 27.3394 | 0 | 0 | 0 | 2.5456
2016-11-13 02:00:00 | 0 | 72.7519 | 22.3637 | 0 | 0 | 0 | 2.5397
2016-11-13 03:00:00 | 0 | 79.1842 | 20.4687 | 0 | 0 | 0 | 2.5315
2016-11-13 04:00:00 | 0 | 106.6937 | 19.5463 | 0 | 0 | 0 | 2.5229
2016-11-13 05:00:00 | 0 | 157.0977 | 19.7403 | 0 | 0 | 0 | 2.5148
2016-11-13 06:00:00 | 0 | 159.7646 | 21.5479 | 0 | 0 | 0 | 2.5196
2016-11-13 07:00:00 | 0 | 153.6089 | 25.4958 | 0.0046666 | 0.10695 | 0.10695 | 2.5243
2016-11-13 08:00:00 | 0 | 149.6385 | 41.1189 | 0.017595 | 0.00582 | 0.00582 | 2.5291
2016-11-13 09:00:00 | 0.016554 | 141.0991 | 62.6095 | 0.014658 | 0.01541 | 0.01541 | 2.5139
2016-11-13 10:00:00 | 0.0083935 | 135.9582 | 78.5293 | 0.011639 | 0.04745 | 0.04745 | 2.4988
2016-11-13 11:00:00 | 0.025309 | 131.6513 | 90.9763 | 0.0081774 | 0.06656 | 0.06656 | 2.4839
2016-11-13 12:00:00 | 0 | 129.156 | 92.6354 | 0 | 0.02108 | 0.02108 | 2.4802
2016-11-13 13:00:00 | 0 | 127.4295 | 78.6037 | 0 | 0.01342 | 0.01342 | 2.477
2016-11-13 14:00:00 | 0 | 127.3497 | 63.3231 | 0 | 0.10568 | 0.10568 | 2.4737
2016-11-13 15:00:00 | 0 | 131.0846 | 55.1801 | 0 | 0.0406 | 0.0406 | 2.4609
2016-11-13 16:00:00 | 0 | 138.379 | 51.328 | 0 | 0 | 0 | 2.4483
2016-11-13 17:00:00 | 0 | 145.5776 | 60.0675 | 0 | 0 | 0 | 2.4353
2016-11-13 18:00:00 | 0 | 151.5685 | 73.4399 | 0 | 0 | 0 | 2.4318
2016-11-13 19:00:00 | 0 | 155.8595 | 81.3608 | 0 | 0 | 0 | 2.4278
2016-11-13 20:00:00 | 0 | 154.262 | 74.2711 | 0 | 0 | 0 | 2.4242
2016-11-13 21:00:00 | 0 | 140.6615 | 63.2537 | 0 | 0 | 0 | 2.4185
2016-11-13 22:00:00 | 0 | 120.0021 | 53.0811 | 0 | 0 | 0 | 2.4133
2016-11-13 23:00:00 | 0 | 89.3959 | 39.5314 | 0 | 0 | 0 | 2.4076
2016-12-29 00:00:00 | 0 | 99.6503 | 28.777 | 0 | 0 | 0 | 2.3611
2016-12-29 01:00:00 | 0 | 105.8552 | 21.8879 | 0 | 0 | 0 | 2.3494
2016-12-29 02:00:00 | 0 | 107.2917 | 20.4574 | 0 | 0 | 0 | 2.3379
2016-12-29 03:00:00 | 0 | 115.3413 | 21.2294 | 0 | 0 | 0 | 2.3252
2016-12-29 04:00:00 | 0 | 143.4146 | 25.0023 | 0 | 0 | 0 | 2.3127
2016-12-29 05:00:00 | 0 | 210.5671 | 29.7456 | 0 | 0 | 0 | 2.3008
2016-12-29 06:00:00 | 0 | 208.7569 | 48.3817 | 0 | 0 | 0 | 2.3143
2016-12-29 07:00:00 | 0 | 202.9324 | 74.128 | 0 | 0 | 0 | 2.3285
2016-12-29 08:00:00 | 0 | 201.8949 | 88.3108 | 0 | 0.16159 | 0.16159 | 2.3428
2016-12-29 09:00:00 | 0 | 197.5646 | 87.3215 | 0 | 0.31822 | 0.31822 | 2.3678
2016-12-29 10:00:00 | 0 | 191.9915 | 84.3842 | 0 | 0.48673 | 0.48673 | 2.3937
2016-12-29 11:00:00 | 0 | 186.084 | 84.1113 | 0.011566 | 0.62266 | 0.62266 | 2.4203
2016-12-29 12:00:00 | 0 | 184.3408 | 84.7686 | 0.0096097 | 0.46421 | 0.46421 | 2.4093
2016-12-29 13:00:00 | 0 | 183.8681 | 77.8997 | 0.0075735 | 0.06083 | 0.06083 | 2.3981
2016-12-29 14:00:00 | 0 | 185.1202 | 72.1282 | 0.0059516 | 0.09247 | 0.09247 | 2.3873
2016-12-29 15:00:00 | 0 | 186.7896 | 69.4784 | 0.011181 | 0.00973 | 0.00973 | 2.3548
2016-12-29 16:00:00 | 0 | 194.498 | 66.5365 | 0.016275 | 0 | 0 | 2.3236
2016-12-29 17:00:00 | 0 | 200.9359 | 71.8275 | 0.021444 | 0 | 0 | 1.8346
2016-12-29 18:00:00 | 0 | 204.9342 | 83.5441 | 0.025715 | 0 | 0 | 1.828
2016-12-29 19:00:00 | 0 | 204.0718 | 88.8588 | 0.030427 | 0 | 0 | 1.8214
2016-12-29 20:00:00 | 0 | 199.3427 | 79.4081 | 0.03449 | 0 | 0 | 1.8149
2016-12-29 21:00:00 | 0 | 181.777 | 66.9089 | 0.034697 | 0 | 0 | 1.8161
2016-12-29 22:00:00 | 0 | 158.6542 | 55.3171 | 0.034907 | 0 | 0 | 1.8171
2016-12-29 23:00:00 | 0 | 117.4513 | 41.5792 | 0.035408 | 0 | 0 | 1.8183